## Durchfluss (hidden)
Teil | Bezeichnung 1 | Bezeichnung 2 | Bezeichnung 3 | Bezeichnung 4
31CF-88-35.030 | HySense QT 306 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", CAN
31CF-88-35.046 | HySense QT 306 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", CAN
31CH-02-35.030 | HySense QT 506 | Turbinen-Volumenstromsensor | 1…20 L/min, IP 67 | ISO228-G¼, Frequenz
31CH-70-35.010 | HySense QT 506 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, CAN
31CH-70-35.030 | HySense QT 506 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67, Aluminium | ISO228-G3/4, CAN
31CH-70-35.046 | HySense QT 506 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, CAN
31CH-71-35.010 | HySense QT 506 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, CAN
31CH-71-35.030 | HySense QT 506 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, CAN
31CH-71-35.046 | HySense QT 506 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, CAN
31CH-72-35.010 | HySense QT 506 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , CAN
31CH-72-35.030 | HySense QT 506 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , CAN
31CH-72-35.046 | HySense QT 506 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , CAN
31CH-73-35.030 | HySense QT 506 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, Frequenz
31IH-70-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, 4...20mA
31IH-70-35.046 | HySense QT 510 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, 4...20mA
31IH-71-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31IH-71-35.046 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31IH-72-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , 4...20mA
31IH-81-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 2.4...80 GPM, IP 67 | 1 5/16-12UN, 4...20mA
31IH-81-35.046 | HySense QT 510 | Turbinen-Volumenstromsensor | 2.4...80 GPM, IP 67 | 1 5/16-12UN, 4...20mA
31IH-82-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 4.2...160 GPM, IP 67 | 1 5/8-12UN, 4...20mA
31JF-88-35.030 | HySense QT 310 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", 4...20mA
31JF-88-35.046 | HySense QT 310 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", 4...20mA
31JH-02-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | ISO228-G¼, 4...20mA
31JH-70-35.010 | HySense QT 510 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, 4...20mA
31JH-70-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, 4...20mA
31JH-70-35.046 | HySense QT 510 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, 4...20mA
31JH-71-35.010 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31JH-71-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31JH-71-35.046 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31JH-71-35.060 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31JH-71-35.090 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31JH-71-35.090L | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31JH-71-35.150 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
31JH-72-35.010 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , 4...20mA
31JH-72-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , 4...20mA
31JH-72-35.046 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , 4...20mA
31JH-72-35.068 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , 4...20mA
31JH-72-35.100 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼ , 4...20mA
31JH-73-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, 4...20mA
31KH-70-35.031 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31KH-70-35.031P | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31KH-71-35.031 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31KH-71-35.031P | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31VF-88-35.030 | HySense QT 300 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", Frequenz
31VF-88-35.042 | HySense QT 300 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", Frequenz
31VF-88-35.046 | HySense QT 300 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", Frequenz
31VH-02-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | ISO228-G¼, Frequenz
31VH-70-26.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-70-35.003 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-70-35.010 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-70-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-70-35.030L | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-70-35.030P | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-70-35.046 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-70-35.V012 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-71-26.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31VH-71-35.010 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31VH-71-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31VH-71-35.030L | HySense QT 500 bidi. | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31VH-71-35.046 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31VH-71-35.150 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
31VH-72-35.010 | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
31VH-72-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
31VH-72-35.030P | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
31VH-72-35.042 | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
31VH-72-35.046 | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
31VH-72-35.068 | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
31VH-72-35.090 | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
31VH-73-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-73-35.030L | HySense QT 500 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, Frequenz
31VH-80-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 0.6...20 GPM, IP 67 | 1 1/16-12UN, Frequenz
31VH-81-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 2.4...80 GPM, IP 67 | 1 5/16-12UN, Frequenz
31VH-82-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 4.2...160 GPM, IP 67 | ISO228-G1¼, Frequenz
31VU-71-35.V036 | HySense QT 600 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
33CF-88-35.V012 | HySense QT 306 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", Frequenz
33CH-02-35.V012 | HySense QT 506 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | ISO228-G¼, Frequenz
33CH-70-35.V012 | HySense QT 506 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
33CH-71-35.V012 | HySense QT 506 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
33CH-72-35.V012 | HySense QT 506 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
33CH-73-35.V012 | HySense QT 506 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, Frequenz
33JF-88-35.V012 | HySense QT 310 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", 4...20mA
33JH-02-35.V012 | HySense QT 510 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | ISO228-G¼, 4...20mA
33JH-70-35.V012 | HySense QT 510 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, 4...20mA
33JH-71-35.V012 | HySense QT 510 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, 4...20mA
33JH-72-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, 4...20mA
33JH-72-35.V012 | HySense QT 510 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, 4...20mA
33JH-73-35.V012 | HySense QT 510 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, 4...20mA
33VF-88-35.V012 | HySense QT 300 | Turbinen-Volumenstromsensor | 45...1000 L/min, IP 67 | SAE 2", Frequenz
33VH-02-35.V012 | HySense QT 500 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | ISO228-G¼, Frequenz
33VH-70-35.V012 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
33VH-71-35.V012 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
33VH-72-35.V012 | HySense QT 500 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO228-G1¼, Frequenz
33VH-73-35.V012 | HySense QT 500 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, Frequenz
3AVH-70-35.011 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
3AVH-70-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 2...75 L/min, IP 67 | ISO228-G3/4, Frequenz
3AVH-71-35.010 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
3AVH-71-35.011 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
3AVH-71-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 9...300 L/min, IP 67 | ISO228-G1, Frequenz
3AVH-73-35.011 | HySense QT 500 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | ISO228-G3/4, Frequenz
3RCG-72-35.010 | HySense QT 406 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, CAN
3RCG-72-35.030 | HySense QT 406 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, CAN
3RCG-72-35.046 | HySense QT 406 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, CAN
3RIG-72-35.030 | HySense QT 410 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, 4...20 mA
3RJG-72-35.010 | HySense QT 410 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, 4...20mA
3RJG-72-35.030 | HySense QT 410 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, 4...20mA
3RJG-72-35.046 | HySense QT 410 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, 4...20mA
3RKG-72-35.030 | HySense QT 400 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, Frequenz
3RVG-72-35.010 | HySense QT 400 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, Frequenz
3RVG-72-35.030 | HySense QT 400 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, Frequenz
3RVG-72-35.030L | HySense QT 400 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, Frequenz
3RVG-72-35.046 | HySense QT 400 | Turbinen-Volumenstromsensor | 16...600 L/min, IP 67 | ISO 228-G1¼, Frequenz
31VH-12-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | UNF, Frequenz
31IH-12-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | UNF, 4...20 mA
31CH-12-35.030 | HySense QT 506 | Turbinen-Volumenstromsensor | 1...20 L/min, IP 67 | UNF, CAN
31VH-83-35.030 | HySense QT 500 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | UNF, Frequenz
31IH-83-35.030 | HySense QT 510 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | UNF, 4…20 mA
31CH-83-35.030 | HySense QT 506 | Turbinen-Volumenstromsensor | 5...150 L/min, IP 67 | UNF, CAN

## Messgeräte
Teil | Bezeichnung 1 | Bezeichnung 2 | Bezeichnung 3 | Bezeichnung 4
2025D-pp-15-15 | Mess-Set MultiHandy 2025 | Koffer mit Messgerät, Sensoren | PR 509 400 bar, 400 bar
2025D-pp-15-15G* | Mess-Set MultiHandy 2025 | Koffer mit Messgerät, Sensoren | PR 509 400 bar, 400 bar
2025D-pp-15-21 | Mess-Set MultiHandy 2025 | Koffer mit Messgerät, Sensoren | PR 509 400 bar, 60 bar
2025D-pp-18-18 | Mess-Set MultiHandy 2025 | Koffer mit Messgerät, Sensoren | PR 509 600 bar, 600 bar
2025D-pp-18-18G* | Mess-Set MultiHandy 2025 | Koffer mit Messgerät, Sensoren | PR 509 600 bar, 600 bar
2025D-pp-18-21 | Mess-Set MultiHandy 2025 | Koffer mit Messgerät, Sensoren | PR 509 60 bar, 600 bar
2025D-pp-18-21G* | Mess-Set MultiHandy 2025 | Koffer mit Messgerät, Sensoren | PR 509 60 bar, 600 bar
3020A-pp-15-15 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 400 bar
3020A-pp-15-15G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 400 bar
3020A-pp-15-17 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 400 bar
3020A-pp-15-17G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 400 bar
3020A-pp-15-18 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 600 bar
3020A-pp-15-18G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 600 bar
3020A-pp-15-21 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 400 bar
3020A-pp-15-21G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 400 bar
3020A-pp-15-32 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 400 bar
3020A-pp-15-32G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 250 bar
3020A-pp-17-17 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 250 bar
3020A-pp-17-17G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 250 bar
3020A-pp-17-18 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 600 bar
3020A-pp-17-18G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 600 bar
3020A-pp-17-21 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 250 bar
3020A-pp-17-21G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 250 bar
3020A-pp-17-32 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 250 bar
3020A-pp-17-32G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 250 bar
3020A-pp-18-18 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 600 bar
3020A-pp-18-18G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 600 bar
3020A-pp-18-21 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 600 bar
3020A-pp-18-21G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 600 bar
3020A-pp-18-32 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 600 bar
3020A-pp-18-32G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 600 bar
3020A-pp-21-18 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 600 bar
3020A-pp-21-21 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 60 bar
3020A-pp-21-21G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 60 bar
3020A-pp-21-32 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 60 bar
3020A-pp-21-32G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 60 bar
3020A-pp-32-10 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 200 bar
3020A-pp-32-21G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 60 bar
3020A-pp-32-32 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 6 bar
3020A-pp-32-32G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar, 6 bar
3020A-pTQ-15-71 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-15-71G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-15-72 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-15-72G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 400 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-17-70 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar | TE 300 -50…200°C, QT 500 75L
3020A-pTQ-17-71 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-17-71G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-17-72 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-17-72G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 250 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-18-01 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 600 bar | TE 300 -50…200°C, QT 100, 10L
3020A-pTQ-18-71 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 600 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-18-71G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 600 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-18-72 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 600 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-18-72G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 600 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-21-71 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-21-71G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-21-72 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-21-72G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 60 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-32-71 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-32-71G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-32-72 | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-32-72G* | Mess-Set MultiHandy 3020 | Koffer mit Messgerät, Sensoren | PR 100 6 bar | TE 300 -50…200°C, QT 500 600L
4070-pp-15-15 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 400 bar
4070-pp-15-17 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 250 bar
4070-pp-15-18 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 600 bar
4070-pp-15-32 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, -1...6 bar
4070-pp-17-17 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 250 bar
4070-pp-17-18 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 600 bar
4070-pp-17-21 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 60 bar
4070-pp-18-18 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 600 bar
4070-pp-18-21 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 60 bar
4070-pp-18-32 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, -1...6 bar
4070-pp-21-21 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 60 bar
4070-pp-32-32 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 -1...6 bar, -1...6 bar
4070-ppTQ-15-15-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 400 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-15-15-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 400 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-15-18-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-15-18-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-15-21-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-15-21-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 400 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-17-17-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 250 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-17-18-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-17-18-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-17-21-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-17-21-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 250 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-18-18-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-18-18-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-18-21-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-18-21-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 600 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-21-21-71 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-21-21-71G* | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-21-21-72 | Mess-Set MultiSystem 4070 | Koffer mit Messgerät, Sensoren | PR 100 60 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
5070-pp-15-15 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 400 bar
5070-pp-15-15G* | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 400 bar
5070-pp-15-17 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 250 bar
5070-pp-15-18 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 600 bar
5070-pp-15-18G* | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 600 bar
5070-pp-15-21 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 60 bar
5070-pp-17-17 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 250 bar, 250 bar
5070-pp-17-17G* | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 250 bar, 250 bar
5070-pp-18-18 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 600 bar
5070-pp-18-18G* | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 600 bar
5070-pp-18-21 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 60 bar
5070-pp-18-21G* | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 60 bar
5070-pp-21-21 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 60 bar, 60 bar
5070-ppTQ-15-15-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 400 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-15-71G* | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 400 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-15-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 400 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-15-17-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 250 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-18-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-18-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-15-21-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-21-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 400 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-17-17-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 250 bar, 250 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-17-18-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 250 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-17-18-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 250 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-17-21-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 60 bar, 250 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-17-21-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 60 bar, 250 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-18-18-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-18-18-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-18-21-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-18-21-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 600 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-21-21-71 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 60 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-21-21-72 | Mess-Set MultiSystem 5070 | Koffer mit Messgerät, Sensoren | PR 400 60 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
* inkl. Werkskalibrierung des Messgerätes

## Measuring devices
Part | Description 1 | Description 2 | Description 3 | Description 4
2025D-pp-15-15 | Measuring kit MultiHandy 2025 | Case with device, sensors | PR 509 400 bar, 400 bar
2025D-pp-15-15G* | Measuring kit MultiHandy 2025 | Case with device, sensors | PR 509 400 bar, 400 bar
2025D-pp-15-21 | Measuring kit MultiHandy 2025 | Case with device, sensors | PR 509 400 bar, 60 bar
2025D-pp-18-18 | Measuring kit MultiHandy 2025 | Case with device, sensors | PR 509 600 bar, 600 bar
2025D-pp-18-18G* | Measuring kit MultiHandy 2025 | Case with device, sensors | PR 509 600 bar, 600 bar
2025D-pp-18-21 | Measuring kit MultiHandy 2025 | Case with device, sensors | PR 509 60 bar, 600 bar
2025D-pp-18-21G* | Measuring kit MultiHandy 2025 | Case with device, sensors | PR 509 60 bar, 600 bar
3020A-pp-15-15 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar, 400 bar
3020A-pp-15-15G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar, 400 bar
3020A-pp-15-17 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar, 400 bar
3020A-pp-15-17G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar, 400 bar
3020A-pp-15-18 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar, 600 bar
3020A-pp-15-18G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar, 600 bar
3020A-pp-15-21 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 400 bar
3020A-pp-15-21G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 400 bar
3020A-pp-15-32 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 400 bar
3020A-pp-15-32G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 250 bar
3020A-pp-17-17 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar, 250 bar
3020A-pp-17-17G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar, 250 bar
3020A-pp-17-18 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar, 600 bar
3020A-pp-17-18G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar, 600 bar
3020A-pp-17-21 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 250 bar
3020A-pp-17-21G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 250 bar
3020A-pp-17-32 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 250 bar
3020A-pp-17-32G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 250 bar
3020A-pp-18-18 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 600 bar, 600 bar
3020A-pp-18-18G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 600 bar, 600 bar
3020A-pp-18-21 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 600 bar
3020A-pp-18-21G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 600 bar
3020A-pp-18-32 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 600 bar
3020A-pp-18-32G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 600 bar
3020A-pp-21-18 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 600 bar
3020A-pp-21-21 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 60 bar
3020A-pp-21-21G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar, 60 bar
3020A-pp-21-32 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 60 bar
3020A-pp-21-32G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 60 bar
3020A-pp-32-10 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 200 bar
3020A-pp-32-21G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 60 bar
3020A-pp-32-32 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 6 bar
3020A-pp-32-32G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar, 6 bar
3020A-pTQ-15-71 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-15-71G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-15-72 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-15-72G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 400 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-17-70 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar | TE 300 -50…200°C, QT 500 75L
3020A-pTQ-17-71 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-17-71G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar | TE 300 -50…200°C, QT 500 300l
3020A-pTQ-17-72 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-17-72G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 250 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-18-01 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 600 bar | TE 300 -50…200°C, QT 100, 10L
3020A-pTQ-18-71 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 600 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-18-71G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 600 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-18-72 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 600 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-18-72G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 600 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-21-71 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-21-71G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-21-72 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-21-72G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 60 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-32-71 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-32-71G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar | TE 300 -50…200°C, QT 500 300L
3020A-pTQ-32-72 | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar | TE 300 -50…200°C, QT 500 600L
3020A-pTQ-32-72G* | Measuring kit MultiHandy 3020 | Case with device, sensors | PR 100 6 bar | TE 300 -50…200°C, QT 500 600L
4070-pp-15-15 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 400 bar
4070-pp-15-17 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 250 bar
4070-pp-15-18 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 600 bar
4070-pp-15-32 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, -1...6 bar
4070-pp-17-17 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 250 bar
4070-pp-17-18 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 600 bar
4070-pp-17-21 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 60 bar
4070-pp-18-18 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 600 bar, 600 bar
4070-pp-18-21 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 600 bar, 60 bar
4070-pp-18-32 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 600 bar, -1...6 bar
4070-pp-21-21 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 60 bar, 60 bar
4070-pp-32-32 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 -1...6 bar, -1...6 bar
4070-ppTQ-15-15-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 400 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-15-15-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 400 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-15-18-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-15-18-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-15-21-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-15-21-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 400 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-17-17-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 250 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-17-18-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-17-18-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-17-21-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-17-21-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 250 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-18-18-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 600 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-18-18-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 600 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-18-21-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 600 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-18-21-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 600 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
4070-ppTQ-21-21-71 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 60 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-21-21-71G* | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 60 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
4070-ppTQ-21-21-72 | Measuring kit MultiSystem 4070 | Case with device, sensors | PR 100 60 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
5070-pp-15-15 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 400 bar
5070-pp-15-15G* | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 400 bar
5070-pp-15-17 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 250 bar
5070-pp-15-18 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 600 bar
5070-pp-15-18G* | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 600 bar
5070-pp-15-21 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 60 bar
5070-pp-17-17 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 250 bar, 250 bar
5070-pp-17-17G* | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 250 bar, 250 bar
5070-pp-18-18 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 600 bar
5070-pp-18-18G* | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 600 bar
5070-pp-18-21 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 60 bar
5070-pp-18-21G* | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 60 bar
5070-pp-21-21 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 60 bar, 60 bar
5070-ppTQ-15-15-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 400 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-15-71G* | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 400 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-15-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 400 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-15-17-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 250 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-18-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-18-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-15-21-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-15-21-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 400 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-17-17-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 250 bar, 250 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-17-18-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 250 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-17-18-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 250 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-17-21-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 60 bar, 250 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-17-21-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 60 bar, 250 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-18-18-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-18-18-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 600 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-18-21-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 600 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-18-21-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 600 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
5070-ppTQ-21-21-71 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 60 bar, 60 bar | TE 300 -50…200°C, QT 500 300L
5070-ppTQ-21-21-72 | Measuring kit MultiSystem 5070 | Case with device, sensors | PR 400 60 bar, 60 bar | TE 300 -50…200°C, QT 500 600L
* incl. calibration of the measuring device